IV Administration of a Continuous Inotropic Competency
Facility:
Nurse:

Preceptor:
Date:


	
	Skills Reviewed
	Successful
	Unsuccessful

	PROCEDURE TO CHANGE INOTROPIC BAG AND ADMINISTRATION SET

	1. 
	Verified prescriber orders with 2nd nurse, label medication bag.
	☐
	☐

	2. 
	Inspect medication bag.
	☐
	☐

	3. 
	Assemble supplies.
	☐
	☐

	4. 
	Performed hand hygiene and don gloves.
	☐
	☐

	5. 
	Remove administration set from packaging, assess integrity and ensure protective covers on both ends.
	☐
	☐

	6. 
	Close roller clamp on administration set.
	☐
	☐

	7. 
	Aseptically spike medication bag with administration set. Change needleless connector per policy.
	☐
	☐

	8. 
	Discard used supplies, remove gloves and perform hand hygiene.
	☐
	☐

	9. 
	Proceed to patient’s room.
	☐
	☐

	10. 
	Identify patient per facility policy.
	☐
	☐

	11. 
	Explain procedure to patient/personal representative.
	☐
	☐

	12. 
	Assemble and prepare supplies.
	☐
	☐

	13. 
	Performed hand hygiene and don gloves.
	☐
	☐

	14. 
	Stop EID, clamp lumen, and disconnect administration set from CVAD.
	☐
	☐

	15. 
	ATTACH NEW medication bag and administration set to EID.
	☐
	☐

	16. 
	Program EID/Verify EID with 2nd licensed nurse to ensure EID settings conform with prescriber order.
	☐
	☐

	17. 
	Open clamp and start EID.
	☐
	☐

	18. 
	Verify drops are falling in the drip chamber and the medication is infusing per Prescriber order before leaving the patient.
	☐
	☐

	19. 
	Dispose of used supplies per facility policy.
	☐
	☐

	20. 
	Remove gloves and perform hand hygiene.
	☐
	☐

	21. 
	Document per facility policy.
	☐
	☐

	22. 
	Report to Prescriber and Supervisor any complications noted during procedure, as applicable.
	☐
	☐

	PROCEDURE TO CHANGE INOTROPIC BAG ONLY

	1. 
	Verified prescriber orders with 2nd nurse, label medication bag.
	☐
	☐

	2. 
	Inspect medication bag.
	☐
	☐

	3. 
	Identify patient per facility policy.
	☐
	☐

	4. 
	Explain procedure to patient/personal representative.
	☐
	☐

	5. 
	Assemble and prepare supplies on a clean surface.
	☐
	☐

	6. 
	Perform hand hygiene and don non-sterile gloves.
	☐
	☐

	7. 
	STOP EID, clamp catheter lumen and aseptically disconnect administration set from catheter lumen.
	☐
	☐

	8. 
	Aseptically remove spike from current infusion bag and aseptically spike new medication bag.
	☐
	☐

	9. 
	Hang new medication bag on IV pole.
	☐
	☐

	10. 
	Prime administration set if applicable.
	☐
	☐

	11. 
	Reload IV administration set into EID per manufacturer’s instruction.
	☐
	☐

	12. 
	Vigorously scrub needleless connector with alcohol wipe. Allow to air dry.
	☐
	☐

	13. 
	Aseptically attach IV administration set to needleless connector.
	☐
	☐

	14. 
	RESET EID settings as applicable.
	☐
	☐

	15. 
	Verify EID with 2nd licensed nurse to ensure EID settings conform with prescriber order.
	☐
	☐

	16. 
	Open clamp and start EID.
	☐
	☐

	17. 
	Verify drops are falling in the drip chamber and the medication is infusing per Prescriber order before leaving the patient.
	☐
	☐

	18. 
	Dispose of used supplies per facility policy.
	☐
	☐

	19. 
	Remove gloves and perform hand hygiene.
	☐
	☐

	20. 
	Document per facility policy.
	☐
	☐

	21. 
	Report to Prescriber and Supervisor any complications noted during procedure, as applicable.
	☐
	☐

	22. 
	Program EID/Verify EID with 2nd licensed nurse to ensure EID settings conform with prescriber order.
	☐
	☐

	Procedure Rating:	☐Successful	☐Unsuccessful



Date:
Date:
Preceptor’s Signature:
Student’s Signature:
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